Via flow instructions, realize the cargo controlled

Summary

XC Series PLC’s offer 4 (four) instructions: STL, STLE, SET, ST. STL, STLE should be used in pairs. STL indicates the start of a flow, while STLE indicates the end of a flow. Executing SET Sxxx, Sxxx flow will be open, while the current flow will be closed. But, when executing ST Sxxx, flow Sxxx will be open but the current flow is not closed.

This example shows an automatic control flow of a cargo. The program executes the events step by step sequentially. Each step includes a series of actions. Also, only the conditions fulfill the requirements, the program can be executed.

Graph:

Flow Chart:

T1 time delay

Time delay S1

Empty flow S10

Cargo Forth S2

Remove the Materials /time-delay S3

T0 time reach

Forth limitation switch X3

Stop button X1

Main flow

Cargo back S0

Start button X0

Back limitation switch X4

Stop button X1

Stop button X1

Program Description:

After pressing the start button X0, the cargo will go back. When reaches back limitation switch X4, the cargo will stop and delay 5 seconds. When delay time reaches, the cargo will go forth. When reaches the forth limitation switch X3, the cargo will stop to remove the materials. After 8 seconds delay, the cargo will go back again. Unless you press down the stop button, the cargo will keep working in this loop

Program: